LCD DIGITAL WRIST BLOOD PRESSURE AUTOMATIC MONITOR MACHINE HEART PULSE TESTER

Digital WRIST Blood Pressure Automatic Monitor Heart Beat Meter LCD

Digital LCD Wrist Blood Pressure Monitor & Heart Beat Rate Pulse Meter Measure

New WRIST Automatic Blood Pressure Monitor Machine Pulse Heart Rate Medical Cuff

**Description:**

1. Imported chip, a pressure sensor and a pneumatic motor, high accuracy, long life

2. Quick measured systolic blood pressure ( hypertension ), diastolic blood pressure ( low pressure ), pulse number

3. Application of fuzzy theory to the measurement, high accuracy

4. Automatic inflatable (pressure ) and exhaust ( decompression )

5. Automatic memory 60 test results, test date and time

6. Clearly visible large screen liquid crystal display digital

7. 3 minutes automatic shutdown

8. May keep or fast query for all measured values

9. May delete all test results

10. May choose mmHg ( or kPa ) blood pressure measurement unit

**Feature：**

Voltage 3 ( V ) display LCD digital display

Measuring range of 20-180 ( mmHg ) method for measuring pulse scanning method / oscillographic determination

Pressure accuracy ± 3 ( mmHg )

Pulse accuracy ± 5 ( % )

Applied operating temperature +5-+40 ( c )

exhaust type full automatic quick exhaust mode

**Specifications:**

Rated voltage: DC 3V AAA battery (NOT included)

Exhaust modes: automatic

Power mode: Electric

Pulse: accuracy ±5 ( % )

Automatic closing function

Measuring range: 20-280 ( mmHg )

Pressure accuracy ±3 ( mmHg ):

Application of temperature: 5-40 ( c )

Rated power: 1 ( W )

Display mode: LCD Digital

**Package Include:**

1X digital wrist blood pressure monitor

1x User manual